## Sheet1
[8 empty] | Verification/Calibration Report | [14 empty] | Brand | Type | AtlasCopco |  | Cleco |  | Fein |  | Desoutter
[25 empty] | Model | Torque | Model | Torque | Model | Torque | Model | Torque
[7 empty] | SAIC MOTOR-CP.CO.LTD 475/8, Moo7, Tambol Khlongkio, Amphur Banbbueng, Chonburi 20220, Thailand | [12 empty] | Certificate No : | 769 |  | AtlasCopco | Battery tool | BCP BL-12L-I06 | 3-12 | 120PHHA554 | 2-1 | ASM 14-12 | 2-12 | PT070-T4000-S13S | 32-70
[20 empty] | Date of test : | 29/04/2026 |  | Bosch | Electric tool | BCP BL-15L-10 | 3-15 | 120PTHH304 | 2-2 | ASM 14-12 PC | 2-12 | SDT160
[23 empty] | Fein | Pneumatic tool | BCP BL-2L-I06 | 0.8-2.5 | 18EAE15AM3 | 2-3 | ASM 14-14 | 3-14 | SH280-LR350-S90-A10S | 18-28
[23 empty] | Desoutter |  | BCP BL-6L-I06 | 1.5-6 | 18EAE28AM3 | 2-4 | ASM 14-4 | 0.9-4 | SH700-LR225-S90-A13S | 21-70
[23 empty] | Bosch |  | BCP-BL-R70-B13 | 1-5 | 19RAA11AH3 | 2-11 | ASM 14-6 | 1.2-6 | ELS12-600-P | 3-12
Calibration Object | [8 empty] | Torque Measurement Device | [6 empty] | External Transducer | [5 empty] | Desoutter |  |  | BCV BL-07L-06 | 2-7 | 24RAA19AM3 | 10-19 | ASM 14-9 | 2-9 | ELS15-480-A | 4.5-15
| Manufacturer: |  |  | AtlasCopco | [5 empty] | Type: |  |  | STbench 500 ISO PC |  |  |  | Manufactoring: |  | Atlas Copco BLM |  |  | Atlas Copco BLM |  |  | BCV BL-15-06 | 4.5-15 | 24RAA23AM3 | 12-23 | ASM 14-9 PC | 2-9 | ELS2.5-1550-P | 0.75-2.5
| Tool type : |  |  | Battery tool | [5 empty] | Serial Number: |  |  | A2350075 |  |  |  | Type: |  | 25 Nm. |  |  | SCS Concept |  |  | BCV BL-15-10 | 4.5-15 | 34NRS36H18 | 36.2 | ASM14-10 |  | ELS6-1000-P | 0.9-6
| Model: |  |  | BCP BL-12L-I06 | [5 empty] | Cal. Cert. Number: |  |  | - |  |  |  | Serial Number: |  |  |  |  | N/A |  |  | BCV BL-45-10 | 13.5-45 | 34RAA26AH3 | 13-26 | ASM14-12 | 2-12 | ELS7-880-A | 2.1-7
| Serial Number : |  |  | 769 | [12 empty] | 1.Cal. Cert. Number: |  |  |  |  | Rank | Serial | Certificate No. | EP 13PTX150 HR13-AT | 85-150 | 34RAA28AH3 | 12-28 | ASW 14-10 | 2-10 | SH150-LR580-S90-A10S | 4.5-15
| Range: |  |  | 3-12 |  |  | Nm. | [14 empty] | 2 Nm. | 46090125 | 5523631031055010 | EP 8PTX70 HR10-AT | 40-70 | 34RAA33AX3 | 17-33 | ASW 14-14 | 3-14 | SH420-LR400-S90-A10S | 12.6-42
[22 empty] | 5 Nm. | 46150332 | 5523631031055044 | EP11PTX110 HR13-AT | 70-110 | 34RAA37AX3 | 18-34 | ASW 14-6 | 1.2-6 | SD095-LB800-S90-A10S | 3-9.5
Requirement Specification | [8 empty] | Environment Control | [7 empty] | Manufactoring: |  | N/A |  |  | 25 Nm. | 46280497 | 5523631031055046 | EP5PST14 HR10-RE | 8-14 | 34RAA47AX3 | 24-47 | ASW 14-9 | 1.5-9 | PTF028-T6300-S4Q | 19-28
| Max (USL): |  | 24.2 |  | Nm. |  |  |  |  | Temperature: |  | 25 | °C |  |  |  | Type: |  | N/A |  |  | 100 Nm. | 46450499 | 5523631031055051 | EP7PTS35 HR10-RE | 18-35 | 34RAA68AZ4 | 34-68 |  |  | PTF035-T6300-S10S | 22-35
| Nominal: |  | 22 |  | Nm. | [11 empty] | Serial Number: |  |  |  |  | 500 Nm. | 46630295 | 5523631031055056 | EP6PTX32HR10-AT | 10-32 | 34RAA68AZ4 | 34-68 |  |  | PTF085-T4800-S13S | 50-85
| Min (LSL): |  | 19.8 |  | Nm. | [11 empty] | 2.Cal. Cert. Number: |  |  |  |  | N/A | N/A | N/A | EP9PTX80 HR13-AT | 50-80 | 34RAA75AZ4 | 38-75
[25 empty] | EPX110 HR13-AT | 1-16 | 34RAA94H3MLFMC | 47-94
[25 empty] | ESTO 4222124712 | 1-17 | 34RAA94H3MPMM6 | 47-94
Reading Data | [24 empty] | ETO38 R43-17-203 | 12-43 | 35PHH653 | 25-35
No |  | Actual | [22 empty] | ETO ST61-50-17-LO5 | 10-50 | 35PTHH403 | 25-35
1 |  | 20.86 | [22 empty] | ETO ST61-60-19-L13 | 15-60 | 41NDR172H15 | 21-43.3
2 |  | 21.53 | [22 empty] | ETP ST101-1000-25-F | 300-1000 | 41NDR172H16 | 27-36
3 |  | 20.37 | [22 empty] | ETP | 1-21 | 48EAE105AH4 | 161..3
4 |  | 19.42 | [22 empty] | ETP STR61-30-10 | 6-32 | 48EAE230AX6 | 230
5 |  | 18.21 | [22 empty] | ETV SR21-12-10 | 2.5-12 | 48EAE230AX6 | 230
6 |  | 18.71 | [22 empty] | ETV SR21-25-10 | 5-25 | 48EAE41AM3 | 41
7 |  | 19.78 | [22 empty] | ETV ST101-270-20 | 56-270 | 48EAE53H3MKMM5 | 69.35
8 |  | 19.11 | [22 empty] | ETV ST101-370-20 | 90-370 | 48EPE150D4 | 190
9 |  | 20.93 | [22 empty] | ETV ST101-450-20 | 110-450 | 55PHH40 | 2-29
10 |  | 19.38 | [22 empty] | ETV ST21-25-10 | 5-22 | 55PTHH403 | 30-55
11 |  | 20.38 | [22 empty] | ETV ST31-20-B10 | 5-22 | 67EA340AM6 | 340
12 |  | 22.66 | [22 empty] | ETV ST61-100-B13 | 20-110 | 67EA460AM6 | 460
13 |  | 22.3 | [22 empty] | ETV ST61-150-13 | 30-158 | 80PTHH354 | 50-80
14 |  | 22.71 | [22 empty] | ETV ST61-150-B13 | 30-158 | 24NRS36H18 | 10-30
15 |  | 22.37 | [22 empty] | ETV ST61-200-20 | 40-200 | 24RAA12AM3 | 3.5-12
16 |  | 22.09 | [22 empty] | ETV ST61-40-B10 | 8-40 | 19PTA07Q | 2-7
17 |  | 22.24 | [22 empty] | ETV ST61-50-B10 | 10-50 | 19PTA15Q | 4.5-15
18 |  | 22.59 | [22 empty] | ETV ST61-70-B13 | 13-70
19 |  | 22.25 | [22 empty] | ETV ST81-200-20 | 40-200
20 |  | 20.25 | [8 empty] | Std. Deviation (s) : |  |  |  | Maximum: |  |  | Nm. | [6 empty] | ETV STB33-15-B10W | 4-15
21 | [10 empty] | Mean (m) : |  |  | Nm. | Minimum: |  |  | Nm. | [6 empty] | ETV STB33-16-B10B | 4-16
22 | [10 empty] | Upper Control Limit (UCL) : |  |  | Nm. | Cm: | [9 empty] | ETV STB63-70-13B | 15-70
23 | [10 empty] | Lower Control Limit (LCL) : |  |  | Nm. | Cmk: | [9 empty] | LMS 12HR10GRS | 0
24 | [24 empty] | LMS18 HR10 | 10-90
25 | [10 empty] | Final Acceptance conclusion: | [13 empty] | LTC39-2 R50-15E8-LO4 | 0
26 | [12 empty] | Qualified | [11 empty] | LTV29-2 R24-B10 | 12-24
27 | [12 empty] | Unqualified | [11 empty] | LTV38 R85 HAD | 40-85
28 | [24 empty] | LTV39-2 R120-B13 | 35-70
29 | [11 empty] | Verified/Calibrated By: | [12 empty] | LTV39-2 R24-B10 | 12-24
30 | [24 empty] | LTV39-2 R30-B10 | 15-30
[12 empty] | Position: | Fin Technician | [11 empty] | LTV39-2 R37-B10 | 22-37
[25 empty] | LTV39-2 R48-B10 | 24-48
[12 empty] | Approved By: | [12 empty] | LTV39-2 R70-B13 | 35-70
[25 empty] | LTV39-2 R85-B13 | 42-85
[12 empty] | Position: | Maintenance Engineer | [11 empty] | LTV48 R120-HAD | 70-120
[5 empty] | Criteria: | [19 empty] | LUM12 HRF8 | 1.5-8
[6 empty] | 1) Maximum actual reading data ≤ UCL and Minimum actual reading data ≥ LCL | [18 empty] | LUM22 HR6 | 1-6
[6 empty] | 2) Maximum actual reading data ≤ USL and Minimum actual reading data ≥ LSL | [18 empty] | LUM22 PR6 | 1.5-6
[6 empty] | 3) Cmk ≥ 1.33 | [18 empty] | PF4000-C-PN-HW | 0
[25 empty] | QST 4220263605 | 0
[25 empty] | QST 4220263607 | 0
[25 empty] | QST 4220379910 | 0
[25 empty] | QST34-20CT-T150-L150-H10 | 4-20
[25 empty] | QST42-50CT-T150-L134 | 10-50
[25 empty] | QST50-150CT-T50-L137 | 30-150
[25 empty] | QST50-90CT-T76-L200 | 20-90
[25 empty] | QST50-90CT-T150-L137 | 0
[25 empty] | RRH06P | 0
[25 empty] | EP11PTI100HR13-MT | 30-100
[25 empty] | BCV BL-07-I06-QC | 2.5-7

## Sheet2
No | Actual | Mean | UCL | LCL | USL | LSL |  | Torgue | Serial | Cert. No |  | Brand | Model | Torque
1 | [6 empty] | Atlas Copco BLM | 2 Nm. | 46090125 | P2001126 | 1 | Atlas Copco
2 | [7 empty] | 5 Nm. | 46150332 | P2001128 | 2 | Atlas Copco
3 | [7 empty] | 500 Nm. | 46630295 | P2001133 | 3 | Atlas Copco
4 | [7 empty] | 25 Nm. | 46280497 | P2001129 | 4 | Atlas Copco
5 | [7 empty] | 100 Nm. | 46450499 | P2001132 | 5 | Atlas Copco
6 | [10 empty] | 6 | Atlas Copco
7 | [10 empty] | 7 | Atlas Copco
8 | [10 empty] | 8 | Atlas Copco
9 | [10 empty] | 9 | Atlas Copco
10 | [10 empty] | 10 | Atlas Copco
11 | [10 empty] | 11 | Atlas Copco
12 | [10 empty] | 12 | Atlas Copco
13 | [10 empty] | 13 | Atlas Copco
14 | [10 empty] | 14 | Atlas Copco
15 | [10 empty] | 15 | Atlas Copco
16 | [10 empty] | 16 | Atlas Copco
17 | [10 empty] | 17 | Atlas Copco
18 | [10 empty] | 18 | Atlas Copco | ETO38 R43-17-203 | 12-43
19 | [10 empty] | 19 | Atlas Copco
20 | [10 empty] | 20 | Atlas Copco
21 | [10 empty] | 21 | Atlas Copco
22 | [10 empty] | 22 | Atlas Copco
23 | [10 empty] | 23 | Atlas Copco
24 | [10 empty] | 24 | Atlas Copco
25 | [10 empty] | 25 | Atlas Copco
26 | [10 empty] | 26 | Atlas Copco
27 | [10 empty] | 27 | Atlas Copco
28 | [10 empty] | 28 | Atlas Copco
29 | [10 empty] | 29 | Atlas Copco
30 | [10 empty] | 30 | Atlas Copco
[11 empty] | 31 | Atlas Copco
[11 empty] | 32 | Atlas Copco
[11 empty] | 33 | Atlas Copco
[11 empty] | 34 | Atlas Copco
[11 empty] | 35 | Atlas Copco
[11 empty] | 36 | Atlas Copco
[11 empty] | 37 | Atlas Copco
[11 empty] | 38 | Atlas Copco
[11 empty] | 39 | Atlas Copco
[11 empty] | 40 | Atlas Copco
[11 empty] | 41 | Atlas Copco
[11 empty] | 42 | Atlas Copco
[11 empty] | 43 | Atlas Copco
[11 empty] | 44 | Atlas Copco |  | 15-50
[11 empty] | 45 | Atlas Copco
[11 empty] | 46 | Atlas Copco
[11 empty] | 47 | Atlas Copco
[11 empty] | 48 | Atlas Copco
[11 empty] | 49 | Atlas Copco
[11 empty] | 50 | Atlas Copco
[11 empty] | 51 | Atlas Copco
[11 empty] | 52 | Atlas Copco
[11 empty] | 53 | Atlas Copco
[11 empty] | 54 | Atlas Copco
[11 empty] | 55 | Atlas Copco
[11 empty] | 56 | Atlas Copco
[11 empty] | 57 | Atlas Copco
[11 empty] | 58 | Atlas Copco
[11 empty] | 59 | Atlas Copco
[11 empty] | 60 | Atlas Copco
[11 empty] | 61 | Atlas Copco
[11 empty] | 62 | Atlas Copco
[11 empty] | 63 | Atlas Copco
[11 empty] | 64 | Atlas Copco
[11 empty] | 65 | Atlas Copco
[11 empty] | 66 | Atlas Copco
[11 empty] | 67 | Atlas Copco
[11 empty] | 68 | Atlas Copco
[11 empty] | 69 | Atlas Copco | EP6PTX32HR10-AT | 10-32
[11 empty] | 70 | Atlas Copco | EP11PTI100 HR13-MT | 30-100
[11 empty] | 71 | Atlas Copco
[11 empty] | 72 | Atlas Copco
[11 empty] | 73 | Atlas Copco
[11 empty] | 74 | Cleco
[11 empty] | 75 | Cleco
[11 empty] | 76 | Cleco
[11 empty] | 77 | Cleco
[11 empty] | 78 | Cleco
[11 empty] | 79 | Cleco
[11 empty] | 80 | Cleco
[11 empty] | 81 | Cleco
[11 empty] | 82 | Cleco
[11 empty] | 83 | Cleco
[11 empty] | 84 | Cleco
[11 empty] | 85 | Cleco
[11 empty] | 86 | Cleco
[11 empty] | 87 | Cleco
[11 empty] | 88 | Cleco
[11 empty] | 89 | Cleco
[11 empty] | 90 | Cleco
[11 empty] | 91 | Cleco
[11 empty] | 92 | Cleco
[11 empty] | 93 | Cleco
[11 empty] | 94 | Cleco
[11 empty] | 95 | Cleco
[11 empty] | 96 | Cleco
[11 empty] | 97 | Cleco
[11 empty] | 98 | Cleco
[11 empty] | 99 | Cleco
[11 empty] | 100 | Cleco
[11 empty] | 101 | Cleco
[11 empty] | 102 | Cleco
[11 empty] | 103 | Cleco
[11 empty] | 104 | Cleco
[11 empty] | 105 | Cleco
[11 empty] | 106 | Cleco
[11 empty] | 107 | Cleco
[11 empty] | 108 | Cleco
[11 empty] | 109 | Cleco
[11 empty] | 110 | Cleco
[11 empty] | 111 | Cleco
[11 empty] | 112 | Cleco
[11 empty] | 113 | Cleco
[11 empty] | 114 | Cleco
[11 empty] | 115 | Cleco
[11 empty] | 116 | Cleco
[11 empty] | 117 | Cleco
[11 empty] | 118 | Cleco
[11 empty] | 119 | Cleco
[11 empty] | 120 | Cleco
[11 empty] | 121 | Cleco
[11 empty] | 122 | Cleco
[11 empty] | 123 | Cleco
[11 empty] | 124 | Cleco
[11 empty] | 125 | Cleco
[11 empty] | 126 | Cleco
[11 empty] | 127 | Cleco
[11 empty] | 128 | Cleco
[11 empty] | 129 | Cleco
[11 empty] | 130 | Cleco
[11 empty] | 131 | Cleco
[11 empty] | 132 | Cleco
[11 empty] | 133 | Cleco
[11 empty] | 134 | Cleco
[11 empty] | 135 | Cleco
[11 empty] | 136 | Cleco
[11 empty] | 137 | Cleco
[11 empty] | 138 | Cleco
[11 empty] | 139 | Cleco
[11 empty] | 140 | Cleco
[11 empty] | 141 | Cleco
[11 empty] | 142 | Cleco
[11 empty] | 143 | Cleco
[11 empty] | 144 | Cleco
[11 empty] | 145 | Cleco
[11 empty] | 146 | Fein
[11 empty] | 147 | Fein
[11 empty] | 148 | Fein
[11 empty] | 149 | Fein
[11 empty] | 150 | Fein
[11 empty] | 151 | Fein
[11 empty] | 152 | Fein
[11 empty] | 153 | Fein
[11 empty] | 154 | Fein
[11 empty] | 155 | Fein
[11 empty] | 156 | Fein
[11 empty] | 157 | Fein
[11 empty] | 158 | Fein
[11 empty] | 159 | Fein
[11 empty] | 160 | Fein
[11 empty] | 161 | Fein
[11 empty] | 162 | Fein
[11 empty] | 163 | Fein
[11 empty] | 164 | Fein
[11 empty] | 165 | Fein
[11 empty] | 166 | Desoutter | PT070-T4000-S13S
[11 empty] | 167 | Desoutter | SDT160
[11 empty] | 168 | Desoutter | SH280-LR350-S90-A10S
[11 empty] | 169 | Desoutter | SH700-LR225-S90-A13S
[11 empty] | 170 | Desoutter | ELS12-600-P
[11 empty] | 171 | Desoutter | ELS15-480-A
[11 empty] | 172 | Desoutter | ELS2.5-1550-P
[11 empty] | 173 | Desoutter | ELS6-1000-P
[11 empty] | 174 | Desoutter
[11 empty] | 175 | Desoutter
[11 empty] | 176 | Desoutter
[11 empty] | 177 | Desoutter
[11 empty] | 178 | Desoutter
[11 empty] | 179 | Desoutter
[11 empty] | 180 | Desoutter
[11 empty] | 181 | Desoutter
[11 empty] | 182 | Desoutter
[11 empty] | 183 | Desoutter
[11 empty] | 184 | Desoutter
[11 empty] | 185 | Desoutter
[11 empty] | 186 | Desoutter
[11 empty] | 187 | Desoutter
[11 empty] | 188 | Desoutter
[11 empty] | 189 | Desoutter